{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["台区 (2)"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"台区 (2)","index":0,"n_rows":183,"n_cols":5,"rows_kept":183,"merged":[[0,0,0,4]]}
["高新供电中心分布式光伏可开放容量公示（09月18日）"]
["序号","供电所","乡、镇(街道）","变压器（台区）名称","可开放容量（千瓦）"]
[1,"老庄子供电所","三女河办事处","10kV高庄子线三女河522#10邵家街村2综合配电变压器",148.56]
[2,"老庄子供电所","三女河办事处","10kV高庄子线三女河522陈支#43陈庄子村1综合配电变压器",{"v":9.69999999999999,"d":"9.70"}]
[3,"老庄子供电所","三女河办事处","10kV高庄子线三女河522陈支#46陈庄子村2综合配电变压器",{"v":0,"d":"0.00"}]
[4,"老庄子供电所","三女河办事处","10kV高庄子线三女河522韩东支#11韩家街村2综合配电变压器.",224.92]
[5,"老庄子供电所","石各庄镇","10kV高庄子线三女河522刘街内支#38刘家哨村1综合配电变压器",{"v":0,"d":"0.00"}]
[6,"老庄子供电所","三女河办事处","10kV高庄子线三女河522三东街内支#7三女河村2综合配电变压器",{"v":0,"d":"0.00"}]
[7,"老庄子供电所","石各庄镇","10kV高庄子线三女河522许支#24许家哨村2综合配电变压器",19.78]
[8,"老庄子供电所","老庄子镇","10kV李官屯线老庄子512饭店支#2韩庄子村1综合配电变压器",169.54]
[9,"老庄子供电所","三女河办事处","10kV毛家坨线三女河523后冯水支#5邵家街村1综合配电变压器",{"v":0,"d":"0.00"}]
[10,"老庄子供电所","老庄子镇","10kV前冯各庄线老庄子521#7老庄子村2综合配电变压器",{"v":0,"d":"0.00"}]
[11,"老庄子供电所","老庄子镇","10kV前冯各庄线老庄子521后东街内支#7后冯各庄村2综合配电变压器",51.67]
[12,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521冯北水支#13七王庄村1综合配电变压器",15.15]
[13,"老庄子供电所","老庄子镇","10kV前冯各庄线老庄子521七东北支#5七王庄村2综合配电变压器",{"v":0.780000000000001,"d":"0.78"}]
[14,"老庄子供电所","老庄子镇","10kV前冯各庄线老庄子521七东支#5七王庄村3综合配电变压器",71.28]
[15,"老庄子供电所","老庄子镇","10kV前冯各庄线老庄子521七东支#2七王庄村4综合配电变压器",{"v":10.9,"d":"10.90"}]
[16,"老庄子供电所","老庄子镇","10kV前冯各庄线老庄子521王街内支#9南王庄村1综合配电变压器",4.87]
[17,"老庄子供电所","老庄子镇","10kV前冯各庄线老庄子521周街内支#2周凤庄村3综合配电变压器",{"v":0.0600000000000023,"d":"0.06"}]
[18,"老庄子供电所","老庄子镇","10kV前冯各庄线老庄子521周街内支#9周凤庄村2综合配电变压器",{"v":0,"d":"0.00"}]
[19,"老庄子供电所","三女河办事处","10kV三幼线三女河513安街内支#1安家庄村1综合配电变压器",{"v":0,"d":"0.00"}]
[20,"老庄子供电所","三女河办事处","10kV三幼线三女河513安支#14崔家屯村3综合配电变压器",{"v":52.575,"d":"52.58"}]
[21,"老庄子供电所","三女河办事处","10kV三幼线三女河513安支#21安家庄村2综合配电变压器",1.87]
[22,"老庄子供电所","三女河办事处","10kV三幼线三女河513崔安支#2崔家屯村4综合配电变压器",{"v":1.3,"d":"1.30"}]
[23,"老庄子供电所","三女河办事处","10kV三幼线三女河513崔东街内支#5崔家屯村5综合配电变压器",2.75]
[24,"老庄子供电所","三女河办事处","10kV三幼线三女河513崔东南支#69崔家屯村6综合配电变压器",36.39]
[25,"老庄子供电所","三女河办事处","10kV三幼线三女河513崔街内支#9崔家屯村1综合配电变压器",{"v":9.63999999999999,"d":"9.64"}]
[26,"老庄子供电所","三女河办事处","10kV三幼线三女河513崔西街内支#8崔家屯村2综合配电变压器",{"v":0,"d":"0.00"}]
[27,"老庄子供电所","三女河办事处","10kV三幼线三女河513高北支#17高庄子村2综合配电变压器",68.25]
[28,"老庄子供电所","三女河办事处","10kV三幼线三女河513高街内支#5高庄子村1综合配电变压器",10.73]
[29,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513党街内支#10党家庄村8综合配电变压器",1.13]
[30,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513瓦东街内支#8瓦房庄村1综合配电变压器",11.49]
[31,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513瓦街东支#6+1瓦房庄村11综合配电变压器",{"v":0,"d":"0.00"}]
[32,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513瓦街内支#13瓦房庄村2综合配电变压器",2.12]
[33,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513瓦街内支#5瓦房庄村8综合配电变压器",{"v":124.6,"d":"124.60"}]
[34,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513瓦南街内支#6瓦房庄村12综合配电变压器",{"v":4.8,"d":"4.80"}]
[35,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513瓦西街内支#11瓦房庄村5综合配电变压器",{"v":5.29000000000001,"d":"5.29"}]
[36,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513瓦西街内支#4瓦房庄村9综合配电变压器",139.39]
[37,"老庄子供电所","老庄子镇","10kV瓦房庄线老庄子513小支#5小城子村2综合配电变压器",72.24]
[38,"老庄子供电所","果园乡","10kV甄家庄521甄吴线娘娘庙支29#柱上变",117.49]
[39,"老庄子供电所","果园乡","10kV甄家庄521甄吴线娘娘庙支32#柱上变",284.03]
[40,"老庄子供电所","果园乡","10kV甄家庄521甄吴线娘娘庙支39#柱上变",215.38]
[41,"老庄子供电所","老庄子镇","10kV正大线三女河525金仪支#14杨信庄村2综合配电变压器",{"v":80.585,"d":"80.59"}]
[42,"老庄子供电所","三女河办事处","10kV正大线三女河525毛二西街内支#9毛二村1综合配电变压器",17.35]
[43,"老庄子供电所","三女河办事处","10kV正大线三女河525毛四街内支#5毛四村2综合配电变压器",{"v":14.665,"d":"14.67"}]
[44,"老庄子供电所","三女河办事处","10kV正大线三女河525毛一西支#2毛一村2综合配电变压器",204.36]
[45,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522陈支#19三女河村5综合配电变压器",{"v":0,"d":"0.00"}]
[46,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522陈支#39陈庄子村3综合配电变压器",{"v":0,"d":"0.00"}]
[47,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522陈支#47陈庄子村4综合配电变压器",{"v":136.9,"d":"136.90"}]
[48,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522方东街内支#5方子里村1综合配电变压器.",{"v":0,"d":"0.00"}]
[49,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522方街内支#1方子里村4综合配电变压器.",145.93]
[50,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522方西街内支#2方子里村2综合配电变压器.",192.59]
[51,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522方西街内支#4方子里村3综合配电变压器.",{"v":48,"d":"48.00"}]
[52,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522韩家街内支#4韩家街村5综合配电变压器.",{"v":152.6,"d":"152.60"}]
[53,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522韩西街内支#4韩家街村3综合配电变压器.",{"v":257.5,"d":"257.50"}]
[54,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522韩西街内支#7韩家街村4综合配电变压器.",{"v":191.945,"d":"191.95"}]
[55,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522刘街内支#29刘家哨村3综合配电变压器",25.55]
[56,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522刘街内支#36刘家哨村2综合配电变压器",10.55]
[57,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522刘街内支#42刘家哨村5综合配电变压器",{"v":6.34999999999999,"d":"6.35"}]
[58,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522刘西街内支#4刘家哨村4综合配电变压器",{"v":6.65000000000001,"d":"6.65"}]
[59,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522三东街内支#8三女河村1综合配电变压器",{"v":23.5,"d":"23.50"}]
[60,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522三东街支#11三女河村6综合配电变压器",{"v":0,"d":"0.00"}]
[61,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522许北街内支#2许家哨村3综合配电变压器",{"v":0,"d":"0.00"}]
[62,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522许街内支#4许家哨村1综合配电变压器",{"v":0,"d":"0.00"}]
[63,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522许南街内支#9许家哨村4综合配电变压器",{"v":0,"d":"0.00"}]
[64,"老庄子供电所","三女河办事处","电网_10kV高庄子线三女河522许支#6三女河村4综合配电变压器",{"v":4.09999999999999,"d":"4.10"}]
[65,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522詹东街内支#7詹家哨村4综合配电变压器",117.65]
[66,"老庄子供电所","石各庄镇","电网_10kV高庄子线三女河522詹街内支#13詹家哨村3综合配电变压器",{"v":267,"d":"267.00"}]
[67,"老庄子供电所","老庄子镇","电网_10kV韩庄子线老庄子522小街西支#3小城子村3综合配电变压器",26.66]
[68,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512白街内支#7白树庄村3综合配电变压器",12.74]
[69,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512老西街内支#6老庄子村5综合配电变压器",3.47]
[70,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512李北街内支#4李官屯村4综合配电变压器",{"v":2.80500000000001,"d":"2.81"}]
[71,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512李街内支#8李官屯村1综合配电变压器",{"v":7.53999999999999,"d":"7.54"}]
[72,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512沙北街内支#4沙务庄村3综合配电变压器",{"v":0,"d":"0.00"}]
[73,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512沙北支#16沙务庄村2综合配电变压器",40.79]
[74,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512沙街内支#4沙务庄村1综合配电变压器",2.47]
[75,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512沙南街内支#10沙雾庄村4综合配电变压器",12.49]
[76,"老庄子供电所","老庄子镇","电网_10kV李官屯线老庄子512社办厂支#5李官屯村2综合配电变压器",35.21]
[77,"老庄子供电所","三女河办事处","电网_10kV毛家坨线三女河523高支#26黄花港村1综合配电变压器",{"v":5.59999999999999,"d":"5.60"}]
[78,"老庄子供电所","三女河办事处","电网_10kV毛家坨线三女河523黄街内支#2黄花港村2综合配电变压器",{"v":0,"d":"0.00"}]
[79,"老庄子供电所","老庄子镇","电网_10kV毛家坨线三女河523黄西支#6黄花港村3综合配电变压器",{"v":0,"d":"0.00"}]
[80,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521#13老庄子村6综合配电变压器",30.37]
[81,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521#24老庄子村7综合配电变压器",{"v":0,"d":"0.00"}]
[82,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521后西街内支#6后冯各庄村3综合配电变压器",{"v":2.40000000000001,"d":"2.40"}]
[83,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521后支#13后冯各庄村4综合配电变压器",{"v":0,"d":"0.00"}]
[84,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521后支#20后冯各庄村1综合配电变压器",20.42]
[85,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521老街内支#11老庄子村8综合配电变压器",{"v":0,"d":"0.00"}]
[86,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521老街内支#5老庄子村1综合配电变压器",168.77]
[87,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521老西街内支#7老庄子村4综合配电变压器",{"v":0,"d":"0.00"}]
[88,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521七街内支#15七王庄村5综合配电变压器",12.43]
[89,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521前街内支#11前冯各庄村1综合配电变压器",68.03]
[90,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521前南街内支#7前冯各庄村3综合配电变压器",{"v":22.795,"d":"22.80"}]
[91,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521前西街内支#7前冯各庄村2综合配电变压器",{"v":0,"d":"0.00"}]
[92,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521前西支#2前冯各庄村4综合配电变压器",103.28]
[93,"老庄子供电所","老庄子镇","电网_10kV前冯各庄线老庄子521周街内支#4周风庄村1综合配电变压器",{"v":17.565,"d":"17.57"}]
[94,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513#79瓦房庄村10综合配电变压器",199.17]
[95,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513党北街内支#5党家庄村7综合配电变压器",{"v":0,"d":"0.00"}]
[96,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513党街内支#6党家庄村1综合配电变压器",{"v":0.0699999999999932,"d":"0.07"}]
[97,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513党街内支#9党家庄村2综合配电变压器",27.78]
[98,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513#34党家庄村3综合配电变压器",{"v":0,"d":"0.00"}]
[99,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513党街西南支#2党家庄村5综合配电变压器",1.78]
[100,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513党南街内支#1党家庄村6综合配电变压器",{"v":0,"d":"0.00"}]
[101,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513瓦北水支#5瓦房庄村7综合配电变压器",{"v":0.939999999999998,"d":"0.94"}]
[102,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513瓦街东支#7瓦房庄村4综合配电变压器",{"v":1.21000000000001,"d":"1.21"}]
[103,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513瓦南街内支#5瓦房庄村6综合配电变压器",13.03]
[104,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513瓦西街内支#6瓦房庄村3综合配电变压器",{"v":8.50999999999999,"d":"8.51"}]
[105,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513夏街内支#7夏屋村1综合配电变压器",{"v":53.775,"d":"53.78"}]
[106,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513夏街西支#4夏屋村2综合配电变压器",126.89]
[107,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513夏南街内支#5夏屋村4综合配电变压器",14.67]
[108,"老庄子供电所","老庄子镇","电网_10kV瓦房庄线老庄子513小街内支#4小城子村1综合配电变压器",11.05]
[109,"老庄子供电所","老庄子镇","电网_10kV詹官屯线老庄子523#26新村1综合配电变压器",{"v":0,"d":"0.00"}]
[110,"老庄子供电所","老庄子镇","电网_10kV詹官屯线老庄子523#45詹官屯村5综合配电变压器",{"v":0,"d":"0.00"}]
[111,"老庄子供电所","老庄子镇","电网_10kV詹官屯线老庄子523新西北支#1新村2综合配电变压器",16.87]
[112,"老庄子供电所","老庄子镇","电网_10kV詹官屯线老庄子523詹东街内支#7詹官屯村4综合配电变压器",{"v":0,"d":"0.00"}]
[113,"老庄子供电所","果园乡","电网_10kV甄家庄521甄吴线娘娘庙支14东分3#柱上变",{"v":247,"d":"247.00"}]
[114,"老庄子供电所","果园乡","电网_10kV甄家庄521甄吴线娘娘庙支29东分8#柱上变压器",{"v":229.3,"d":"229.30"}]
[115,"老庄子供电所","果园乡","电网_10kV甄家庄521甄吴线娘娘庙支35#柱上变",143.91]
[116,"老庄子供电所","果园乡","电网_10kV甄家庄521甄吴线娘娘庙支7北分2#柱上变压器",216.04]
[117,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525白街内支#10白树庄村2综合配电变压器",65.95]
[118,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525范街内支#1范家坨村3综合配电变压器",42.21]
[119,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525范支#35白树庄村1综合配电变压器",3.25]
[120,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525范支#52范家坨村1综合配电变压器",28.54]
[121,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525范支#56范家坨村2综合配电变压器",76.51]
[122,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525金仪支#11杨信庄村4综合配电变压器",40.04]
[123,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525金仪支#17杨信庄村1综合配电变压器",1.88]
[124,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525毛二东街内支#5毛二村2综合配电变压器",{"v":0,"d":"0.00"}]
[125,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525毛三东街内支#9毛三村1综合配电变压器.",{"v":94.645,"d":"94.65"}]
[126,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525毛三西街内支#4毛三村3综合配电变压器.",203.07]
[127,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525毛三西街内支#6毛三村4综合配电变压器.",{"v":253.945,"d":"253.95"}]
[128,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525毛三西街内支#8毛三村5综合配电变压器.",204.86]
[129,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525毛四支#10毛四村1综合配电变压器",30.52]
[130,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525毛一街内支#9毛一村1综合配电变压器",91.54]
[131,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525姚支#12姚家庄村2综合配电变压器.",{"v":34.2,"d":"34.20"}]
[132,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525姚支#17姚家庄村3综合配电变压器.",247.84]
[133,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525姚支#20姚家庄村5综合配电变压器.",230.26]
[134,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525姚支#4姚家庄村1综合配电变压器.",154.05]
[135,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525姚支1分支#3姚家庄村6综合配电变压器.",{"v":34.025,"d":"34.03"}]
[136,"老庄子供电所","三女河办事处","电网_10kV正大线三女河525姚支2分支#10姚家庄村7综合配电变压器.",85.28]
[137,"老庄子供电所","三女河办事处","电网_新10kV高庄子线三女河522三街内支#7三女河村3综合配电变压器",47.03]
[138,"老庄子供电所","石各庄镇","电网_新10kV高庄子线三女河522詹街内支#5詹家哨1综合配电变压器",{"v":215.8,"d":"215.80"}]
[139,"老庄子供电所","石各庄镇","电网_新10kV高庄子线三女河522詹西街内支#5詹家哨2综合配电变压器",122.64]
[140,"老庄子供电所","老庄子镇","电网_新10kV前冯各庄线老庄子521#13老庄子村3综合配电变压器",{"v":6.36000000000001,"d":"6.36"}]
[141,"老庄子供电所","老庄子镇","电网_新10kV瓦房庄线老庄子513党街内支#9党家庄村4综合配电变压器",{"v":0,"d":"0.00"}]
[142,"老庄子供电所","老庄子镇","电网_新10kV瓦房庄线老庄子513夏支#30夏屋村3综合配电变压器",176.95]
[143,"老庄子供电所","老庄子镇","电网_新10kV詹官屯线老庄子523#50詹官屯村3综合配电变压器",12.21]
[144,"老庄子供电所","老庄子镇","电网_新10kV詹官屯线老庄子523#56詹官屯村1综合配电变压器",5.31]
[145,"老庄子供电所","老庄子镇","电网_新10kV詹官屯线老庄子523#57詹官屯村2综合配电变压器",{"v":0,"d":"0.00"}]
[146,"老庄子供电所","老庄子镇","新10kV前冯各庄线老庄子521王街内支#19南王庄村2综合配电变压器",25.87]
[147,"高新供电所","庆北办事处","北白寺口村1号变台",{"v":200,"d":"200.00"}]
[148,"高新供电所","庆北办事处","北白寺口村2号变台",{"v":252,"d":"252.00"}]
[149,"高新供电所","庆北办事处","常庄新房子村1号变台",{"v":200,"d":"200.00"}]
[150,"高新供电所","庆北办事处","李各庄村10号变台",{"v":252,"d":"252.00"}]
[151,"高新供电所","庆北办事处","李各庄村7号变台",{"v":252,"d":"252.00"}]
[152,"高新供电所","庆北办事处","李各庄村8号变台",{"v":252,"d":"252.00"}]
[153,"高新供电所","庆北办事处","李各庄村9号变台",{"v":252,"d":"252.00"}]
[154,"高新供电所","庆北办事处","刘家洼村1号变台",{"v":252,"d":"252.00"}]
[155,"高新供电所","庆北办事处","刘家洼村2号变台",{"v":252,"d":"252.00"}]
[156,"高新供电所","庆北办事处","刘家洼村3号变台",{"v":200,"d":"200.00"}]
[157,"高新供电所","庆北办事处","刘家洼村4号变台",{"v":141.5,"d":"141.50"}]
[158,"高新供电所","庆北办事处","刘家洼村5号变台",{"v":237,"d":"237.00"}]
[159,"高新供电所","庆北办事处","前白寺口村1号变台",{"v":252,"d":"252.00"}]
[160,"高新供电所","庆北办事处","前白寺口村2号变台",26.62]
[161,"高新供电所","庆北办事处","前白寺口村3号变台",10.74]
[162,"高新供电所","庆北办事处","三益庄村1号变台",31.59]
[163,"高新供电所","庆北办事处","三益庄村2号变台",117.92]
[164,"高新供电所","庆北办事处","三益庄村3号变台",31.74]
[165,"高新供电所","庆北办事处","三益庄村4号变台",158.45]
[166,"高新供电所","庆北办事处","三益庄村5号变台",1.19]
[167,"高新供电所","庆北办事处","三益庄村6号变台",{"v":126.5,"d":"126.50"}]
[168,"高新供电所","庆北办事处","三益庄村7号变台",149.57]
[169,"高新供电所","庆北办事处","孙家庄村1号变台",{"v":252,"d":"252.00"}]
[170,"高新供电所","庆北办事处","田庄村1号变台",{"v":0,"d":"0.00"}]
[171,"高新供电所","庆北办事处","田庄村2号变台",{"v":4.67000000000002,"d":"4.67"}]
[172,"高新供电所","庆北办事处","王鄄子村1号变台",{"v":80,"d":"80.00"}]
[173,"高新供电所","庆北办事处","新城子村1号变台",{"v":200,"d":"200.00"}]
[174,"高新供电所","庆北办事处","新城子村3号变台",239.82]
[175,"高新供电所","庆北办事处","张家洼村1号变台",{"v":0.829999999999998,"d":"0.83"}]
[176,"高新供电所","庆北办事处","张家洼村2号变台",{"v":3.375,"d":"3.38"}]
[177,"高新供电所","庆北办事处","中白寺口村1号变台",{"v":10.5,"d":"10.50"}]
[178,"高新供电所","庆北办事处","中白寺口村2号变台",71.26]
[179,"高新供电所","庆北办事处","中白寺口村3号变台",187.26]
[180,"高新供电所","庆北办事处","中白寺口村4号变台",{"v":0,"d":"0.00"}]
[181,"高新供电所","高新区街道","10kV龙王庙521龙泉小区线32北分5#柱上变压器",{"v":56,"d":"56.00"}]