{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["台区","10kV线路"],"not_rendered":{"external_links":1,"defined_names":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"台区","index":0,"n_rows":202,"n_cols":12,"rows_kept":202,"merged":[[0,0,0,11]],"flags":["formulas_cached_only"]}
["高新区供电中心分布式光伏可开放容量公示（2025年1月）"]
["序号","市公司","县公司","供电所","乡、镇(街道）","村","台区编号","变压器（台区）名称","可开放容量（千瓦）-当季报备","已受理（含登记排队）容量（千瓦）","维护人","维护时间"]
[1,"唐山供电公司","高新供电中心","营业二班","庆北办事处","北白寺口村",1102860864,"北白寺口村1号变台",{"v":200,"d":"200.00"},null,"许钉钉","2025年1月"]
[2,"唐山供电公司","高新供电中心","营业二班","庆北办事处","北白寺口村",1103173237,"北白寺口村2号变台",{"v":252,"d":"252.00"},null,"许钉钉","2025年1月"]
[3,"唐山供电公司","高新供电中心","营业二班","常庄镇","常庄新房子村",1102845703,"常庄新房子村1号变台",{"v":200,"d":"200.00"},null,"许钉钉","2025年1月"]
[4,"唐山供电公司","高新供电中心","营业二班","庆北办事处","李各庄村",1102846356,"李各庄村10号变台",{"v":207.2,"d":"207.20"},null,"许钉钉","2025年1月"]
[5,"唐山供电公司","高新供电中心","营业二班","庆北办事处","李各庄村",1102845432,"李各庄村7号变台",{"v":252,"d":"252.00"},null,"许钉钉","2025年1月"]
[6,"唐山供电公司","高新供电中心","营业二班","庆北办事处","李各庄村",1103175269,"李各庄村8号变台",{"v":252,"d":"252.00"},null,"许钉钉","2025年1月"]
[7,"唐山供电公司","高新供电中心","营业二班","庆北办事处","李各庄村",1102844778,"李各庄村9号变台",{"v":215.6,"d":"215.60"},null,"许钉钉","2025年1月"]
[8,"唐山供电公司","高新供电中心","营业二班","庆北办事处","刘家洼村",1102845983,"刘家洼村1号变台",{"v":252,"d":"252.00"},null,"许钉钉","2025年1月"]
[9,"唐山供电公司","高新供电中心","营业二班","庆北办事处","刘家洼村",1103135778,"刘家洼村2号变台",{"v":189.6,"d":"189.60"},null,"许钉钉","2025年1月"]
[10,"唐山供电公司","高新供电中心","营业二班","庆北办事处","刘家洼村",1102845497,"刘家洼村3号变台",{"v":200,"d":"200.00"},null,"许钉钉","2025年1月"]
[11,"唐山供电公司","高新供电中心","营业二班","庆北办事处","刘家洼村",1102897601,"刘家洼村4号变台",107.42,34.08,"许钉钉","2025年1月"]
[12,"唐山供电公司","高新供电中心","营业二班","庆北办事处","刘家洼村",1102860879,"刘家洼村5号变台",{"v":237,"d":"237.00"},null,"许钉钉","2025年1月"]
[13,"唐山供电公司","高新供电中心","营业二班","庆北办事处","前白寺口村",1102849452,"前白寺口村1号变台",{"v":252,"d":"252.00"},null,"许钉钉","2025年1月"]
[14,"唐山供电公司","高新供电中心","营业二班","庆北办事处","前白寺口村",1102005625,"前白寺口村2号变台",4.06,null,"许钉钉","2025年1月"]
[15,"唐山供电公司","高新供电中心","营业二班","庆北办事处","前白寺口村",1103075050,"前白寺口村3号变台",10.74,null,"许钉钉","2025年1月"]
[16,"唐山供电公司","高新供电中心","营业二班","庆北办事处","三益庄村",1103110205,"三益庄村1号变台",{"v":1.50999999999999,"d":"1.51"},null,"许钉钉","2025年1月"]
[17,"唐山供电公司","高新供电中心","营业二班","庆北办事处","三益庄村",1102891030,"三益庄村2号变台",141.19,null,"许钉钉","2025年1月"]
[18,"唐山供电公司","高新供电中心","营业二班","庆北办事处","三益庄村",1103110206,"三益庄村3号变台",{"v":6,"d":"6.00"},null,"许钉钉","2025年1月"]
[19,"唐山供电公司","高新供电中心","营业二班","庆北办事处","三益庄村",1103175271,"三益庄村4号变台",158.45,null,"许钉钉","2025年1月"]
[20,"唐山供电公司","高新供电中心","营业二班","庆北办事处","三益庄村",1102845287,"三益庄村5号变台",{"v":0.530000000000001,"d":"0.53"},null,"许钉钉","2025年1月"]
[21,"唐山供电公司","高新供电中心","营业二班","庆北办事处","三益庄村",1103173234,"三益庄村6号变台",140.35,null,"许钉钉","2025年1月"]
[22,"唐山供电公司","高新供电中心","营业二班","庆北办事处","三益庄村",1103173236,"三益庄村7号变台",161.73,null,"许钉钉","2025年1月"]
[23,"唐山供电公司","高新供电中心","营业二班","庆北办事处","孙家庄村",1102897602,"孙家庄村1号变台",{"v":252,"d":"252.00"},null,"许钉钉","2025年1月"]
[24,"唐山供电公司","高新供电中心","营业二班","庆北办事处","田庄村",1102860865,"田庄村1号变台",{"v":0,"d":"0.00"},null,"许钉钉","2025年1月"]
[25,"唐山供电公司","高新供电中心","营业二班","庆北办事处","田庄村",1103173238,"田庄村2号变台",{"v":2.02000000000001,"d":"2.02"},null,"许钉钉","2025年1月"]
[26,"唐山供电公司","高新供电中心","营业二班","庆北办事处","王鄄子村",1102849454,"王鄄子村1号变台",{"v":80,"d":"80.00"},null,"许钉钉","2025年1月"]
[27,"唐山供电公司","高新供电中心","营业二班","庆北办事处","新城子村",1102846212,"新城子村1号变台",{"v":200,"d":"200.00"},null,"许钉钉","2025年1月"]
[28,"唐山供电公司","高新供电中心","营业二班","庆北办事处","新城子村",1103135777,"新城子村3号变台",239.82,null,"许钉钉","2025年1月"]
[29,"唐山供电公司","高新供电中心","营业二班","常庄镇","张家洼村",1102845638,"张家洼村1号变台",{"v":0.829999999999998,"d":"0.83"},null,"许钉钉","2025年1月"]
[30,"唐山供电公司","高新供电中心","营业二班","常庄镇","张家洼村",1103112760,"张家洼村2号变台",{"v":3.375,"d":"3.38"},null,"许钉钉","2025年1月"]
[31,"唐山供电公司","高新供电中心","营业二班","庆北办事处","中白寺口村",1103173235,"中白寺口村1号变台",{"v":10.5,"d":"10.50"},null,"许钉钉","2025年1月"]
[32,"唐山供电公司","高新供电中心","营业二班","庆北办事处","中白寺口村",1102860863,"中白寺口村2号变台",15.08,null,"许钉钉","2025年1月"]
[33,"唐山供电公司","高新供电中心","营业二班","庆北办事处","中白寺口村",1103175270,"中白寺口村3号变台",187.26,null,"许钉钉","2025年1月"]
[34,"唐山供电公司","高新供电中心","营业二班","庆北办事处","中白寺口村",1103055137,"中白寺口村4号变台",{"v":0,"d":"0.00"},null,"许钉钉","2025年1月"]
[35,"唐山供电公司","高新供电中心","营业二班","高新区街道","龙康西楼",1103097224,"10kV龙王庙521龙泉小区线32北分5#柱上变压器",{"v":56,"d":"56.00"},null,"许钉钉","2025年1月"]
[36,"唐山供电公司","高新供电中心","营业四班","三女河办事处","安家庄村","1102726766","10kV三幼线三女河513安街内支#1安家庄村1综合配电变压器",214.55,0,"冯旭","2025年1月"]
[37,"唐山供电公司","高新供电中心","营业四班","三女河办事处","安家庄村","1102726767","10kV三幼线三女河513安支#21安家庄村2综合配电变压器",161.87,0,"冯旭","2025年1月"]
[38,"唐山供电公司","高新供电中心","营业四班","三女河办事处","白树庄村","1102729545","电网_10kV李官屯线老庄子512白街内支#7白树庄村3综合配电变压器",12.74,0,"冯旭","2025年1月"]
[39,"唐山供电公司","高新供电中心","营业四班","三女河办事处","白树庄村","1102726770","电网_10kV正大线三女河525范支#35白树庄村1综合配电变压器",3.25,0,"冯旭","2025年1月"]
[40,"唐山供电公司","高新供电中心","营业四班","三女河办事处","白树庄村","1102726771","电网_10kV正大线三女河525白街内支#10白树庄村2综合配电变压器",65.95,0,"冯旭","2025年1月"]
[41,"唐山供电公司","高新供电中心","营业四班","三女河办事处","陈庄子村","1102729671","10kV高庄子线三女河522陈支#43陈庄子村1综合配电变压器",{"v":9.70000000000005,"d":"9.70"},0,"冯旭","2025年1月"]
[42,"唐山供电公司","高新供电中心","营业四班","三女河办事处","陈庄子村","1102729724","10kV高庄子线三女河522陈支#46陈庄子村2综合配电变压器",{"v":55.815,"d":"55.82"},0,"冯旭","2025年1月"]
[43,"唐山供电公司","高新供电中心","营业四班","三女河办事处","陈庄子村","0103672422","电网_10kV高庄子线三女河522陈支#39陈庄子村3综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[44,"唐山供电公司","高新供电中心","营业四班","三女河办事处","陈庄子村","0103672402","电网_10kV高庄子线三女河522陈支#47陈庄子村4综合配电变压器",{"v":136.9,"d":"136.90"},0,"冯旭","2025年1月"]
[45,"唐山供电公司","高新供电中心","营业四班","三女河办事处","崔家屯村","1102726773","10kV三幼线三女河513崔东街内支#5崔家屯村5综合配电变压器",2.75,0,"冯旭","2025年1月"]
[46,"唐山供电公司","高新供电中心","营业四班","三女河办事处","崔家屯村","1102726777","10kV三幼线三女河513崔安支#2崔家屯村4综合配电变压器",{"v":1.3,"d":"1.30"},0,"冯旭","2025年1月"]
[47,"唐山供电公司","高新供电中心","营业四班","三女河办事处","崔家屯村","1102726780","10kV三幼线三女河513崔街内支#9崔家屯村1综合配电变压器",{"v":9.63999999999999,"d":"9.64"},0,"冯旭","2025年1月"]
[48,"唐山供电公司","高新供电中心","营业四班","三女河办事处","崔家屯村","1102726781","10kV三幼线三女河513崔西街内支#8崔家屯村2综合配电变压器",{"v":67.895,"d":"67.90"},0,"冯旭","2025年1月"]
[49,"唐山供电公司","高新供电中心","营业四班","三女河办事处","崔家屯村","1102942481","10kV三幼线三女河513安支#14崔家屯村3综合配电变压器",{"v":14.775,"d":"14.78"},0,"冯旭","2025年1月"]
[50,"唐山供电公司","高新供电中心","营业四班","三女河办事处","崔家屯村","1102944812","10kV三幼线三女河513崔东南支#69崔家屯村6综合配电变压器",36.39,0,"冯旭","2025年1月"]
[51,"唐山供电公司","高新供电中心","营业四班","三女河办事处","崔家屯村","0103484261","10kV三幼线三女河513崔东南支#71崔家屯村综合7变压器",{"v":160,"d":"160.00"},0,"冯旭","2025年1月"]
[52,"唐山供电公司","高新供电中心","营业四班","老庄子镇","大树韩庄子村","1102729620","电网_10kV前冯各庄线老庄子521韩街内支#5大树韩庄子村2综合配电变压器",{"v":128,"d":"128.00"},0,"冯旭","2025年1月"]
[53,"唐山供电公司","高新供电中心","营业四班","老庄子镇","大树韩庄子村","1102729124","10kV李官屯线老庄子512饭店支#2韩庄子村1综合配电变压器",79.52,0,"冯旭","2025年1月"]
[54,"唐山供电公司","高新供电中心","营业四班","老庄子镇","大树韩庄子村","1102729622","电网_10kV前冯各庄线老庄子521韩东支#3韩庄子村3综合配电变压器",{"v":80,"d":"80.00"},0,"冯旭","2025年1月"]
[55,"唐山供电公司","高新供电中心","营业四班","老庄子镇","党家庄村","1102729578","电网_10kV瓦房庄线老庄子513党南街内支#1党家庄村6综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[56,"唐山供电公司","高新供电中心","营业四班","老庄子镇","党家庄村","1102729579","电网_10kV瓦房庄线老庄子513党街西南支#2党家庄村5综合配电变压器",1.78,0,"冯旭","2025年1月"]
[57,"唐山供电公司","高新供电中心","营业四班","老庄子镇","党家庄村","1102729581","电网_10kV瓦房庄线老庄子513党街内支#9党家庄村2综合配电变压器",27.78,0,"冯旭","2025年1月"]
[58,"唐山供电公司","高新供电中心","营业四班","老庄子镇","党家庄村","1102729582","10kV瓦房庄线老庄子513#34党家庄村3综合配电变压器",78.41,0,"冯旭","2025年1月"]
[59,"唐山供电公司","高新供电中心","营业四班","老庄子镇","党家庄村","1102729610","电网_10kV瓦房庄线老庄子513党北街内支#5党家庄村7综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[60,"唐山供电公司","高新供电中心","营业四班","老庄子镇","党家庄村","1102942484","电网_10kV瓦房庄线老庄子513党街内支#6党家庄村1综合配电变压器",{"v":0.0699999999999932,"d":"0.07"},0,"冯旭","2025年1月"]
[61,"唐山供电公司","高新供电中心","营业四班","老庄子镇","党家庄村","0103548093","电网_新10kV瓦房庄线老庄子513党街内支#9党家庄村4综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[62,"唐山供电公司","高新供电中心","营业四班","老庄子镇","党家庄村","0103668519","10kV瓦房庄线老庄子513党街内支#10党家庄村8综合配电变压器",{"v":1.13000000000001,"d":"1.13"},0,"冯旭","2025年1月"]
[63,"唐山供电公司","高新供电中心","营业四班","三女河办事处","范家坨村","1102726785","电网_10kV正大线三女河525范街内支#1范家坨村3综合配电变压器",42.21,0,"冯旭","2025年1月"]
[64,"唐山供电公司","高新供电中心","营业四班","三女河办事处","范家坨村","1102726786","电网_10kV正大线三女河525范支#52范家坨村1综合配电变压器",28.54,0,"冯旭","2025年1月"]
[65,"唐山供电公司","高新供电中心","营业四班","三女河办事处","范家坨村","1102726787","电网_10kV正大线三女河525范支#56范家坨村2综合配电变压器",{"v":5.10999999999999,"d":"5.11"},0,"冯旭","2025年1月"]
[66,"唐山供电公司","高新供电中心","营业四班","三女河办事处","方子里村","0103658724","电网_10kV高庄子线三女河522方西街内支#2方子里村2综合配电变压器.",192.59,0,"冯旭","2025年1月"]
[67,"唐山供电公司","高新供电中心","营业四班","三女河办事处","方子里村","0103658725","电网_10kV高庄子线三女河522方东街内支#5方子里村1综合配电变压器.",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[68,"唐山供电公司","高新供电中心","营业四班","三女河办事处","方子里村","0103658726","电网_10kV高庄子线三女河522方西街内支#4方子里村3综合配电变压器.",{"v":48,"d":"48.00"},0,"冯旭","2025年1月"]
[69,"唐山供电公司","高新供电中心","营业四班","三女河办事处","方子里村","0103658728","电网_10kV高庄子线三女河522方街内支#1方子里村4综合配电变压器.",119.33,0,"冯旭","2025年1月"]
[70,"唐山供电公司","高新供电中心","营业四班","三女河办事处","高庄子村","1102726791","10kV三幼线三女河513高街内支#5高庄子村1综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[71,"唐山供电公司","高新供电中心","营业四班","三女河办事处","高庄子村","1102726792","10kV三幼线三女河513高北支#17高庄子村2综合配电变压器",68.25,0,"冯旭","2025年1月"]
[72,"唐山供电公司","高新供电中心","营业四班","三女河办事处","韩家街村","0103658722","10kV高庄子线三女河522韩东支#11韩家街村2综合配电变压器.",224.92,0,"冯旭","2025年1月"]
[73,"唐山供电公司","高新供电中心","营业四班","三女河办事处","韩家街村","0103658707","电网_10kV高庄子线三女河522韩东支#4韩家街村1综合配电变压器.",156.07,0,"冯旭","2025年1月"]
[74,"唐山供电公司","高新供电中心","营业四班","三女河办事处","韩家街村","0103658723","电网_10kV高庄子线三女河522韩西街内支#7韩家街村4综合配电变压器.",{"v":144.005,"d":"144.01"},0,"冯旭","2025年1月"]
[75,"唐山供电公司","高新供电中心","营业四班","三女河办事处","韩家街村","0103658727","电网_10kV高庄子线三女河522韩家街内支#4韩家街村5综合配电变压器.",{"v":152.6,"d":"152.60"},0,"冯旭","2025年1月"]
[76,"唐山供电公司","高新供电中心","营业四班","三女河办事处","韩家街村","0103658729","电网_10kV高庄子线三女河522韩西街内支#4韩家街村3综合配电变压器.",{"v":257.5,"d":"257.50"},0,"冯旭","2025年1月"]
[77,"唐山供电公司","高新供电中心","营业四班","老庄子镇","后冯各庄村","1102729624","10kV前冯各庄线老庄子521后支#13后冯各庄村4综合配电变压器",119.43,0,"冯旭","2025年1月"]
[78,"唐山供电公司","高新供电中心","营业四班","老庄子镇","后冯各庄村","1102729627","10kV前冯各庄线老庄子521后东街内支#7后冯各庄村2综合配电变压器",51.67,0,"冯旭","2025年1月"]
[79,"唐山供电公司","高新供电中心","营业四班","老庄子镇","后冯各庄村","1102729628","电网_10kV前冯各庄线老庄子521后西街内支#6后冯各庄村3综合配电变压器",{"v":2.40000000000001,"d":"2.40"},0,"冯旭","2025年1月"]
[80,"唐山供电公司","高新供电中心","营业四班","老庄子镇","后冯各庄村","1102729741","电网_10kV前冯各庄线老庄子521后支#20后冯各庄村1综合配电变压器",20.42,0,"冯旭","2025年1月"]
[81,"唐山供电公司","高新供电中心","营业四班","老庄子镇","黄花港村","1102726799","10kV毛家坨线三女河523黄西支#6黄花港村3综合配电变压器",52.58,0,"冯旭","2025年1月"]
[82,"唐山供电公司","高新供电中心","营业四班","三女河办事处","黄花港村","1102729669","电网_10kV毛家坨线三女河523高支#26黄花港村1综合配电变压器",{"v":5.59999999999999,"d":"5.60"},0,"冯旭","2025年1月"]
[83,"唐山供电公司","高新供电中心","营业四班","三女河办事处","黄花港村","1102729672","10kV毛家坨线三女河523黄街内支#2黄花港村2综合配电变压器",23.05,0,"冯旭","2025年1月"]
[84,"唐山供电公司","高新供电中心","营业四班","老庄子镇","老庄子村","1102729556","电网_10kV李官屯线老庄子512老西街内支#6老庄子村5综合配电变压器",3.47,0,"冯旭","2025年1月"]
[85,"唐山供电公司","高新供电中心","营业四班","老庄子镇","老庄子村","1102729634","电网_10kV前冯各庄线老庄子521老街内支#5老庄子村1综合配电变压器",168.77,0,"冯旭","2025年1月"]
[86,"唐山供电公司","高新供电中心","营业四班","老庄子镇","老庄子村","1102729635","10kV前冯各庄线老庄子521#7老庄子村2综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[87,"唐山供电公司","高新供电中心","营业四班","老庄子镇","老庄子村","1102729636","电网_10kV前冯各庄线老庄子521老西街内支#7老庄子村4综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[88,"唐山供电公司","高新供电中心","营业四班","老庄子镇","老庄子村","1102729637","电网_10kV前冯各庄线老庄子521#13老庄子村6综合配电变压器",30.37,0,"冯旭","2025年1月"]
[89,"唐山供电公司","高新供电中心","营业四班","老庄子镇","老庄子村","1102729638","电网_10kV前冯各庄线老庄子521#24老庄子村7综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[90,"唐山供电公司","高新供电中心","营业四班","老庄子镇","老庄子村","0103548092","电网_新10kV前冯各庄线老庄子521#13老庄子村3综合配电变压器",{"v":6.36000000000001,"d":"6.36"},0,"冯旭","2025年1月"]
[91,"唐山供电公司","高新供电中心","营业四班","老庄子镇","老庄子村","0103551092","电网_10kV前冯各庄线老庄子521老街内支#11老庄子村8综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[92,"唐山供电公司","高新供电中心","营业四班","老庄子镇","李官屯村","1102729572","电网_10kV李官屯线老庄子512李北街内支#4李官屯村4综合配电变压器",{"v":2.80500000000001,"d":"2.81"},0,"冯旭","2025年1月"]
[93,"唐山供电公司","高新供电中心","营业四班","老庄子镇","李官屯村","1102731693","电网_10kV李官屯线老庄子512李街内支#1李官屯村3综合配电变压器",{"v":160,"d":"160.00"},0,"冯旭","2025年1月"]
[94,"唐山供电公司","高新供电中心","营业四班","老庄子镇","李官屯村","1102942480","电网_10kV李官屯线老庄子512李街内支#8李官屯村1综合配电变压器",{"v":7.53999999999999,"d":"7.54"},0,"冯旭","2025年1月"]
[95,"唐山供电公司","高新供电中心","营业四班","老庄子镇","李官屯村","1102942483","电网_10kV李官屯线老庄子512社办厂支#5李官屯村2综合配电变压器",35.21,0,"冯旭","2025年1月"]
[96,"唐山供电公司","高新供电中心","营业四班","石各庄镇","刘家哨村","1102729734","电网_10kV高庄子线三女河522刘西街内支#4刘家哨村4综合配电变压器",{"v":6.65000000000001,"d":"6.65"},0,"冯旭","2025年1月"]
[97,"唐山供电公司","高新供电中心","营业四班","石各庄镇","刘家哨村","1102729735","电网_10kV高庄子线三女河522刘街内支#42刘家哨村5综合配电变压器",{"v":6.35000000000001,"d":"6.35"},0,"冯旭","2025年1月"]
[98,"唐山供电公司","高新供电中心","营业四班","石各庄镇","刘家哨村","1102729738","10kV高庄子线三女河522刘街内支#38刘家哨村1综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[99,"唐山供电公司","高新供电中心","营业四班","石各庄镇","刘家哨村","1102729739","电网_10kV高庄子线三女河522刘街内支#36刘家哨村2综合配电变压器",10.55,0,"冯旭","2025年1月"]
[100,"唐山供电公司","高新供电中心","营业四班","石各庄镇","刘家哨村","1102729740","电网_10kV高庄子线三女河522刘街内支#29刘家哨村3综合配电变压器",25.55,0,"冯旭","2025年1月"]
[101,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛二村","1102726802","电网_10kV正大线三女河525毛二东街内支#5毛二村2综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[102,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛二村","1102726803","10kV正大线三女河525毛二西街内支#9毛二村1综合配电变压器",17.35,0,"冯旭","2025年1月"]
[103,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛三村","0103659261","电网_10kV正大线三女河525毛三西街内支#4毛三村3综合配电变压器.",203.07,0,"冯旭","2025年1月"]
[104,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛三村","0103659258","电网_10kV正大线三女河525毛三东街内支#15毛三村2综合配电变压器.",{"v":252,"d":"252.00"},0,"冯旭","2025年1月"]
[105,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛三村","0103659259","电网_10kV正大线三女河525毛三西街内支#8毛三村5综合配电变压器.",204.86,0,"冯旭","2025年1月"]
[106,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛三村","0103659260","电网_10kV正大线三女河525毛三东街内支#9毛三村1综合配电变压器.",{"v":64.165,"d":"64.17"},0,"冯旭","2025年1月"]
[107,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛三村","0103659262","电网_10kV正大线三女河525毛三西街内支#6毛三村4综合配电变压器.",{"v":253.945,"d":"253.95"},0,"冯旭","2025年1月"]
[108,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛四村","1102726811","电网_10kV正大线三女河525毛四支#10毛四村1综合配电变压器",{"v":13.375,"d":"13.38"},0,"冯旭","2025年1月"]
[109,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛四村","0103544472","10kV正大线三女河525毛四街内支#5毛四村2综合配电变压器",{"v":14.665,"d":"14.67"},0,"冯旭","2025年1月"]
[110,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛一村","1102726814","电网_10kV正大线三女河525毛一街内支#9毛一村1综合配电变压器",12.16,0,"冯旭","2025年1月"]
[111,"唐山供电公司","高新供电中心","营业四班","三女河办事处","毛一村","1604242305121204","10kV正大线三女河525毛一西支#2毛一村2综合配电变压器",204.36,0,"冯旭","2025年1月"]
[112,"唐山供电公司","高新供电中心","营业四班","老庄子镇","南王庄村","1102729641","10kV前冯各庄线老庄子521王街内支#9南王庄村1综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[113,"唐山供电公司","高新供电中心","营业四班","老庄子镇","南王庄村","0103548091","新10kV前冯各庄线老庄子521王街内支#19南王庄村2综合配电变压器",29.16,0,"冯旭","2025年1月"]
[114,"唐山供电公司","高新供电中心","营业四班","果园乡","娘娘庙","1102843043","电网_10kV甄家庄521甄吴线娘娘庙支38#柱上变",{"v":163.1,"d":"163.10"},0,"冯旭","2025年1月"]
[115,"唐山供电公司","高新供电中心","营业四班","果园乡","娘娘庙","1102845063","10kV甄家庄521甄吴线娘娘庙支29#柱上变",117.49,0,"冯旭","2025年1月"]
[116,"唐山供电公司","高新供电中心","营业四班","果园乡","娘娘庙","1102860856","10kV甄家庄521甄吴线娘娘庙支32#柱上变",284.03,0,"冯旭","2025年1月"]
[117,"唐山供电公司","高新供电中心","营业四班","果园乡","娘娘庙","1102860857","电网_10kV甄家庄521甄吴线娘娘庙支35#柱上变",124.86,0,"冯旭","2025年1月"]
[118,"唐山供电公司","高新供电中心","营业四班","果园乡","娘娘庙","1102860858","10kV甄家庄521甄吴线娘娘庙支39#柱上变",215.38,0,"冯旭","2025年1月"]
[119,"唐山供电公司","高新供电中心","营业四班","果园乡","娘娘庙","1103075052","电网_10kV甄家庄521甄吴线娘娘庙支29东分8#柱上变压器",{"v":229.3,"d":"229.30"},0,"冯旭","2025年1月"]
[120,"唐山供电公司","高新供电中心","营业四班","老庄子镇","七王庄村","1102729644","电网_10kV前冯各庄线老庄子521冯北水支#13七王庄村1综合配电变压器",15.15,0,"冯旭","2025年1月"]
[121,"唐山供电公司","高新供电中心","营业四班","老庄子镇","七王庄村","1102729645","10kV前冯各庄线老庄子521七东北支#5七王庄村2综合配电变压器",0.75,0,"冯旭","2025年1月"]
[122,"唐山供电公司","高新供电中心","营业四班","老庄子镇","七王庄村","1102729646","10kV前冯各庄线老庄子521七东支#5七王庄村3综合配电变压器",71.28,0,"冯旭","2025年1月"]
[123,"唐山供电公司","高新供电中心","营业四班","老庄子镇","七王庄村","1102729647","10kV前冯各庄线老庄子521七东支#2七王庄村4综合配电变压器",{"v":10.9,"d":"10.90"},0,"冯旭","2025年1月"]
[124,"唐山供电公司","高新供电中心","营业四班","老庄子镇","七王庄村","1102732297","电网_10kV前冯各庄线老庄子521七街内支#15七王庄村5综合配电变压器",12.43,0,"冯旭","2025年1月"]
[125,"唐山供电公司","高新供电中心","营业四班","老庄子镇","前冯各庄村","1102729618","电网_10kV前冯各庄线老庄子521前西街内支#7前冯各庄村2综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[126,"唐山供电公司","高新供电中心","营业四班","老庄子镇","前冯各庄村","1102729619","电网_10kV前冯各庄线老庄子521前街内支#11前冯各庄村1综合配电变压器",68.03,0,"冯旭","2025年1月"]
[127,"唐山供电公司","高新供电中心","营业四班","老庄子镇","前冯各庄村","1102729649","电网_10kV前冯各庄线老庄子521前南街内支#7前冯各庄村3综合配电变压器",{"v":22.795,"d":"22.80"},0,"冯旭","2025年1月"]
[128,"唐山供电公司","高新供电中心","营业四班","老庄子镇","前冯各庄村","1102732296","电网_10kV前冯各庄线老庄子521前西支#2前冯各庄村4综合配电变压器",103.28,0,"冯旭","2025年1月"]
[129,"唐山供电公司","高新供电中心","营业四班","三女河办事处","三女河村","1102729716","10kV高庄子线三女河522三东街内支#7三女河村2综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[130,"唐山供电公司","高新供电中心","营业四班","三女河办事处","三女河村","1102729717","电网_10kV高庄子线三女河522三东街支#11三女河村6综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[131,"唐山供电公司","高新供电中心","营业四班","三女河办事处","三女河村","1102729718","电网_10kV高庄子线三女河522三东街内支#8三女河村1综合配电变压器",{"v":23.5,"d":"23.50"},0,"冯旭","2025年1月"]
[132,"唐山供电公司","高新供电中心","营业四班","三女河办事处","三女河村","1102729719","电网_10kV高庄子线三女河522陈支#19三女河村5综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[133,"唐山供电公司","高新供电中心","营业四班","三女河办事处","三女河村","1102729720","电网_10kV高庄子线三女河522许支#6三女河村4综合配电变压器",{"v":4.09999999999999,"d":"4.10"},0,"冯旭","2025年1月"]
[134,"唐山供电公司","高新供电中心","营业四班","三女河办事处","三女河村","0103548095","电网_新10kV高庄子线三女河522三街内支#7三女河村3综合配电变压器",47.03,0,"冯旭","2025年1月"]
[135,"唐山供电公司","高新供电中心","营业四班","老庄子镇","沙务庄村","1102729569","电网_10kV李官屯线老庄子512沙街内支#4沙务庄村1综合配电变压器",{"v":2.46999999999997,"d":"2.47"},0,"冯旭","2025年1月"]
[136,"唐山供电公司","高新供电中心","营业四班","老庄子镇","沙务庄村","1102729570","电网_10kV李官屯线老庄子512沙北支#16沙务庄村2综合配电变压器",40.79,0,"冯旭","2025年1月"]
[137,"唐山供电公司","高新供电中心","营业四班","老庄子镇","沙务庄村","1102729571","电网_10kV李官屯线老庄子512沙北街内支#4沙务庄村3综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[138,"唐山供电公司","高新供电中心","营业四班","老庄子镇","沙雾庄村","1102843542","电网_10kV李官屯线老庄子512沙南街内支#10沙雾庄村4综合配电变压器",12.49,0,"冯旭","2025年1月"]
[139,"唐山供电公司","高新供电中心","营业四班","三女河办事处","邵家街村","1102726816","10kV毛家坨线三女河523后冯水支#5邵家街村1综合配电变压器",25.52,0,"冯旭","2025年1月"]
[140,"唐山供电公司","高新供电中心","营业四班","三女河办事处","邵家街村","1102729722","10kV高庄子线三女河522#10邵家街村2综合配电变压器",127.14,0,"冯旭","2025年1月"]
[141,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102729587","电网_10kV瓦房庄线老庄子513瓦南街内支#5瓦房庄村6综合配电变压器",13.03,0,"冯旭","2025年1月"]
[142,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102729592","10kV瓦房庄线老庄子513瓦西街内支#11瓦房庄村5综合配电变压器",{"v":5.29000000000001,"d":"5.29"},0,"冯旭","2025年1月"]
[143,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102729594","10kV瓦房庄线老庄子513瓦东街内支#8瓦房庄村1综合配电变压器",11.49,0,"冯旭","2025年1月"]
[144,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102729595","10kV瓦房庄线老庄子513瓦街内支#13瓦房庄村2综合配电变压器",2.12,0,"冯旭","2025年1月"]
[145,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102729596","电网_10kV瓦房庄线老庄子513瓦西街内支#6瓦房庄村3综合配电变压器",{"v":8.51000000000002,"d":"8.51"},0,"冯旭","2025年1月"]
[146,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102729597","电网_10kV瓦房庄线老庄子513瓦街东支#7瓦房庄村4综合配电变压器",{"v":1.20999999999998,"d":"1.21"},0,"冯旭","2025年1月"]
[147,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102729611","10kV瓦房庄线老庄子513瓦西街内支#4瓦房庄村9综合配电变压器",139.39,0,"冯旭","2025年1月"]
[148,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102729612","10kV瓦房庄线老庄子513瓦街内支#5瓦房庄村8综合配电变压器",{"v":124.6,"d":"124.60"},0,"冯旭","2025年1月"]
[149,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1102741012","电网_10kV瓦房庄线老庄子513瓦北水支#5瓦房庄村7综合配电变压器",{"v":0.939999999999998,"d":"0.94"},0,"冯旭","2025年1月"]
[150,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","1103009162","电网_10kV瓦房庄线老庄子513#79瓦房庄村10综合配电变压器",199.17,0,"冯旭","2025年1月"]
[151,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","0103668517","10kV瓦房庄线老庄子513瓦街东支#6+1瓦房庄村11综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[152,"唐山供电公司","高新供电中心","营业四班","老庄子镇","瓦房庄村","0103668518","10kV瓦房庄线老庄子513瓦南街内支#6瓦房庄村12综合配电变压器",{"v":4.8,"d":"4.80"},0,"冯旭","2025年1月"]
[153,"唐山供电公司","高新供电中心","营业四班","老庄子镇","夏屋村","1102729603","电网_10kV瓦房庄线老庄子513夏街内支#7夏屋村1综合配电变压器",0.75,0,"冯旭","2025年1月"]
[154,"唐山供电公司","高新供电中心","营业四班","老庄子镇","夏屋村","1102729604","电网_10kV瓦房庄线老庄子513夏街西支#4夏屋村2综合配电变压器",126.89,0,"冯旭","2025年1月"]
[155,"唐山供电公司","高新供电中心","营业四班","老庄子镇","夏屋村","1102843541","电网_10kV瓦房庄线老庄子513夏南街内支#5夏屋村4综合配电变压器",14.67,0,"冯旭","2025年1月"]
[156,"唐山供电公司","高新供电中心","营业四班","老庄子镇","夏屋村","1102843543","电网_10kV瓦房庄线老庄子513夏支#23夏屋村5综合配电变压器",{"v":80,"d":"80.00"},0,"冯旭","2025年1月"]
[157,"唐山供电公司","高新供电中心","营业四班","老庄子镇","夏屋村","0103547694","电网_新10kV瓦房庄线老庄子513夏支#30夏屋村3综合配电变压器",176.95,0,"冯旭","2025年1月"]
[158,"唐山供电公司","高新供电中心","营业四班","老庄子镇","小城子村","1102729608","电网_10kV瓦房庄线老庄子513小街内支#4小城子村1综合配电变压器",11.05,0,"冯旭","2025年1月"]
[159,"唐山供电公司","高新供电中心","营业四班","老庄子镇","小城子村","1102729609","10kV瓦房庄线老庄子513小支#5小城子村2综合配电变压器",72.24,0,"冯旭","2025年1月"]
[160,"唐山供电公司","高新供电中心","营业四班","老庄子镇","小城子村","1102733046","电网_10kV韩庄子线老庄子522小街西支#3小城子村3综合配电变压器",26.66,0,"冯旭","2025年1月"]
[161,"唐山供电公司","高新供电中心","营业四班","老庄子镇","小城子村","0103664917","电网_10kV瓦房庄线老庄子513小北支#3小城子村4综合配电变压器",{"v":320,"d":"320.00"},0,"冯旭","2025年1月"]
[162,"唐山供电公司","高新供电中心","营业四班","老庄子镇","小城子村","0103664918","电网_10kV瓦房庄线老庄子513小北支#3小城子村5综合配电变压器",{"v":320,"d":"320.00"},0,"冯旭","2025年1月"]
[163,"唐山供电公司","高新供电中心","营业四班","老庄子镇","新村","1102942470","电网_10kV詹官屯线老庄子523新西北支#1新村2综合配电变压器",16.87,0,"冯旭","2025年1月"]
[164,"唐山供电公司","高新供电中心","营业四班","老庄子镇","新村","1102942474","电网_10kV詹官屯线老庄子523#26新村1综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[165,"唐山供电公司","高新供电中心","营业四班","石各庄镇","许家哨村","1102729706","10kV高庄子线三女河522许街内支#4许家哨村1综合配电变压器",{"v":5.94999999999999,"d":"5.95"},0,"冯旭","2025年1月"]
[166,"唐山供电公司","高新供电中心","营业四班","石各庄镇","许家哨村","1102729707","10kV高庄子线三女河522许支#24许家哨村2综合配电变压器",19.78,0,"冯旭","2025年1月"]
[167,"唐山供电公司","高新供电中心","营业四班","石各庄镇","许家哨村","1102729708","10kV高庄子线三女河522许北街内支#2许家哨村3综合配电变压器",23.03,0,"冯旭","2025年1月"]
[168,"唐山供电公司","高新供电中心","营业四班","石各庄镇","许家哨村","1102729723","电网_10kV高庄子线三女河522许南街内支#9许家哨村4综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[169,"唐山供电公司","高新供电中心","营业四班","果园乡","杨家口村","1102844949","电网_10kV甄家庄521甄吴线娘娘庙支12#柱上变",{"v":252,"d":"252.00"},0,"冯旭","2025年1月"]
[170,"唐山供电公司","高新供电中心","营业四班","果园乡","杨家口村","1102860855","电网_10kV甄家庄521甄吴线娘娘庙支14东分3#柱上变",{"v":226.385,"d":"226.39"},0,"冯旭","2025年1月"]
[171,"唐山供电公司","高新供电中心","营业四班","果园乡","杨家口村","1103075051","电网_10kV甄家庄521甄吴线娘娘庙支7北分2#柱上变压器",216.04,0,"冯旭","2025年1月"]
[172,"唐山供电公司","高新供电中心","营业四班","果园乡","杨家口村","1103135785","电网_10kV甄家庄521甄吴线娘娘庙支6#柱上变",{"v":200,"d":"200.00"},0,"冯旭","2025年1月"]
[173,"唐山供电公司","高新供电中心","营业四班","老庄子镇","杨信庄村","1102726822","10kV正大线三女河525金仪支#14杨信庄村2综合配电变压器",{"v":80.585,"d":"80.59"},0,"冯旭","2025年1月"]
[174,"唐山供电公司","高新供电中心","营业四班","三女河办事处","杨信庄村","1102726821","电网_10kV正大线三女河525金仪支#17杨信庄村1综合配电变压器",1.88,0,"冯旭","2025年1月"]
[175,"唐山供电公司","高新供电中心","营业四班","三女河办事处","杨信庄村","1102741312","电网_10kV正大线三女河525金仪支#11杨信庄村4综合配电变压器",40.04,0,"冯旭","2025年1月"]
[176,"唐山供电公司","高新供电中心","营业四班","三女河办事处","姚家庄村","1102726825","电网_10kV正大线三女河525姚支#18姚家庄村4综合配电变压器.",{"v":130.075,"d":"130.08"},0,"冯旭","2025年1月"]
[177,"唐山供电公司","高新供电中心","营业四班","三女河办事处","姚家庄村","1103051903","电网_10kV正大线三女河525姚支1分支#3姚家庄村6综合配电变压器.",{"v":3.70999999999998,"d":"3.71"},0,"冯旭","2025年1月"]
[178,"唐山供电公司","高新供电中心","营业四班","三女河办事处","姚家庄村","0103659348","电网_10kV正大线三女河525姚支#4姚家庄村1综合配电变压器.",115.48,0,"冯旭","2025年1月"]
[179,"唐山供电公司","高新供电中心","营业四班","三女河办事处","姚家庄村","0103659349","电网_10kV正大线三女河525姚支#12姚家庄村2综合配电变压器.",{"v":34.2,"d":"34.20"},0,"冯旭","2025年1月"]
[180,"唐山供电公司","高新供电中心","营业四班","三女河办事处","姚家庄村","0103659350","电网_10kV正大线三女河525姚支#17姚家庄村3综合配电变压器.",{"v":223.9,"d":"223.90"},0,"冯旭","2025年1月"]
[181,"唐山供电公司","高新供电中心","营业四班","三女河办事处","姚家庄村","0103659314","电网_10kV正大线三女河525姚支#20姚家庄村5综合配电变压器.",{"v":160.435,"d":"160.44"},0,"冯旭","2025年1月"]
[182,"唐山供电公司","高新供电中心","营业四班","三女河办事处","姚家庄村","0103659355","电网_10kV正大线三女河525姚支2分支#10姚家庄村7综合配电变压器.",85.28,0,"冯旭","2025年1月"]
[183,"唐山供电公司","高新供电中心","营业四班","庆北办事处","詹官屯村","1102729668","电网_10kV詹官屯线老庄子523#45詹官屯村5综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[184,"唐山供电公司","高新供电中心","营业四班","庆北办事处","詹官屯村","1102729670","电网_10kV詹官屯线老庄子523詹东街内支#7詹官屯村4综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[185,"唐山供电公司","高新供电中心","营业四班","庆北办事处","詹官屯村","0103547692","电网_新10kV詹官屯线老庄子523#57詹官屯村2综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[186,"唐山供电公司","高新供电中心","营业四班","庆北办事处","詹官屯村","0103547693","电网_新10kV詹官屯线老庄子523#56詹官屯村1综合配电变压器",5.31,0,"冯旭","2025年1月"]
[187,"唐山供电公司","高新供电中心","营业四班","庆北办事处","詹官屯村","0103548094","电网_新10kV詹官屯线老庄子523#50詹官屯村3综合配电变压器",12.21,0,"冯旭","2025年1月"]
[188,"唐山供电公司","高新供电中心","营业四班","石各庄镇","詹家哨村","0103494521","电网_新10kV高庄子线三女河522詹西街内支#5詹家哨2综合配电变压器",{"v":53.1199999999999,"d":"53.12"},0,"冯旭","2025年1月"]
[189,"唐山供电公司","高新供电中心","营业四班","石各庄镇","詹家哨村","0103494522","电网_新10kV高庄子线三女河522詹街内支#5詹家哨1综合配电变压器",{"v":176.6,"d":"176.60"},0,"冯旭","2025年1月"]
[190,"唐山供电公司","高新供电中心","营业四班","石各庄镇","詹家哨村","0103519051","电网_10kV高庄子线三女河522詹东街内支#7詹家哨村4综合配电变压器",117.65,0,"冯旭","2025年1月"]
[191,"唐山供电公司","高新供电中心","营业四班","石各庄镇","詹家哨村","0103519052","电网_10kV高庄子线三女河522詹街内支#13詹家哨村3综合配电变压器",{"v":267,"d":"267.00"},0,"冯旭","2025年1月"]
[192,"唐山供电公司","高新供电中心","营业四班","老庄子镇","周风庄村","1102942482","电网_10kV前冯各庄线老庄子521周街内支#4周风庄村1综合配电变压器",{"v":17.565,"d":"17.57"},0,"冯旭","2025年1月"]
[193,"唐山供电公司","高新供电中心","营业四班","老庄子镇","周凤庄村","1102729650","10kV前冯各庄线老庄子521周街内支#9周凤庄村2综合配电变压器",{"v":0,"d":"0.00"},0,"冯旭","2025年1月"]
[194,"唐山供电公司","高新供电中心","营业四班","老庄子镇","周凤庄村","1102729654","10kV前冯各庄线老庄子521周街内支#2周凤庄村3综合配电变压器",{"v":0.0599999999999881,"d":"0.06"},0,"冯旭","2025年1月"]
[195,"唐山供电公司","高新供电中心","营业四班","老庄子镇","君德小区","1607240905024931","君德房地产1号箱变2号变压器",{"v":640,"d":"640.00"},0,"冯旭","2025年1月"]
[196,"唐山供电公司","高新供电中心","营业四班","老庄子镇","君德小区","1607240905024935","君德房地产1号箱变1号变压器",{"v":640,"d":"640.00"},0,"冯旭","2025年1月"]
[197,"唐山供电公司","高新供电中心","营业四班","老庄子镇","君德小区","1607240905026670","君德房地产2号箱变老变522出口4号变压器",{"v":640,"d":"640.00"},0,"冯旭","2025年1月"]
[198,"唐山供电公司","高新供电中心","营业四班","老庄子镇","君德小区","1607240905027409","君德房地产3号箱变老512出口5号变压器",{"v":640,"d":"640.00"},0,"冯旭","2025年1月"]
[199,"唐山供电公司","高新供电中心","营业四班","老庄子镇","君德小区","1607240905028248","君德房地产2号箱变老512出口3号变压器",{"v":640,"d":"640.00"},0,"冯旭","2025年1月"]
[200,"唐山供电公司","高新供电中心","营业四班","老庄子镇","君德小区","1607240905028256","君德房地产3号箱变老522出口6号变压器",{"v":640,"d":"640.00"},0,"冯旭","2025年1月"]

{"sheet":"10kV线路","index":1,"n_rows":15,"n_cols":11,"rows_kept":15,"merged":[[0,0,0,10]],"flags":["formulas_cached_only"]}
["**市分布式光伏可开放容量公示（xx月xx日）"]
["序号","市公司","县公司","供电所","乡、镇(街道）","村","10kV线路名称","可开放容量（千瓦）-当季报备","已受理（含登记排队）容量（千瓦）","维护人","维护时间"]
[1,"xx市","xx县","xx供电所","xx镇","xx村","xx线路",80,20]
[2]
[3]
[4]
[5]
[6]
[7]
[8]
[9]
[10]
[11]
[12]
[13]